Building Structures [ARC 2522]

Project 1: Extension of a R.C Structure

Chosen Existing R.C Building:

Jalan Uthant, Kuala Lumpur

Name: HANS HOSEA GONZA

Student ID: 0311772

Lecturer : MS Ann See Peng

PROPOSED EXTENSION

SLAB THICKNESS AND LIVE LOAD

ONE WAY AND TWO WAY SLABS

BEAM ANALYSIS CALCULATION

Beam K/4-8

Beam self-weight

=0.25m x0.5m x24kN/m3

=3kN/m

Slab

=ly/lx

=5.5m / 3.6699m =1.4986 (two way slab)

Slab dead load

=0.1m x 24kN/m3

=2.4kN/m3

Dead load from slab

DL x (lx/2)

=2.4 x (3.6699/2)

=4.40388kN/m

Converting to UDL

4.40388 x (2/3) = 2.935kN/m

Live load on slab

LL x (Lx/2)

1.5 x (3.669/2) =2.751kNm

Converting to UDL

2.751 x (2/3) =1.834kN/m

Brick wall

=wall height x Thickness x Density

=3.5 x 0.25 x 19

=16.625kN/m

Total dead load

=16.625+ 3+ 2.935

=22.56kN/m

Total live load

=1.834kn/m

Ultimate load= 1.4(DL) + 1.6(LL)

= (1.4x22.56) + (1.6x1.834)

=34.5144kN/m

REACTION FORCES

SHEAR FORCE AND BENDING MOMENTS DIAGRAMS

BEAM 4/ J-K

REACTION FORCES ON BEAM 4/ J-K

SHEAR FORCE AND BENDING MMENTS DIAGRAM

BEAM K/ 1-4

REACTION FORCES

SHEAR FORCE AND BENDING MOMENTS DIAGRAM

BEAM 1/ J-K

REACTION FORCES

SHEAR FORCE AND BENDING MOMENTS DIAGRAM

BEAM 8/ J-K

REACTION FORCES

SHEAR FORCE AND B

COLUMN ANALYSIS CALCULATION – TRIBUTARY AREA METHOD

LOAD DISTRIBUTION

COLUMN J-6

1st floor

Areas

Living room= 2.21m x 2.59m = 5.7239m2

Tv room= (2.59 + 1.23) x 2.75 =10.505m3

Slab

Living room

Dead load

= slab self-weight x Area

=2.4KN/m2 x 5.7239m2 = 13.73kN

Live load

=2KN/m2 x 5.7239m2 = 11.44kN

Tv room

Dead load

=slab self-weight x Area

= 2.4kN/m2 x 10.505m2 = 25.21kN

Live load

1.5KN/m2 x 0.505m2 =15.75 kN

Beams

Beam 6/ I-J (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.59 = 7.77kN

Beam J/ 1-6 (self-weight)

=0.25m x 0.5m x24kN/m3 x 5.85m = 17.55kN

Beam J/ 6-8 (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.49 m = 7.47kN

Brick wall

Wall 6/ I-J

=3.5m x 0.25m x 19kN/m3 x 2.59m= 43.05kN

Wall J/ 1-6

=3.5m x 0.25m x 19kN/m3 x 5.85m= 97.25kN

Wall J/ 6-8

=3.5m x 0.25m x 19kN/m3 x 2.49m= 41.39kN

Total column load

=41.39+97.25+43.05+7.47+17.55+7.77+15.75+25.21+11.44+13.73

= 280.61kN

COLUMN K-1

Roof level

Area= 2.75m x 3.95m

=10.862m2

Live load from roof

=10.862m2 x 0.5kN/m2 = 5.431kN

Dead load from roof

=10.862m2 x 1kN/m2 = 10.862kN

Beam K/ 1-8 (self-weight)

==0.25m x 0.5m x24kN/m3 x 3.95= 11.85kN

Beam 8/ J-K (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.75 = 8.25kN

Total column load from roof level = 36.393kN

1st floor

Area = 2.75m x 2.176m = 5.984m2

Slab

Live load = 2kN/m2 x 5.984m2 = 11.968kN

Dead load= slab self-weight x Area

=2.4kN/m2 x 5.984 = 14.36kN

Beams

Beam 1/ J-K (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.75 = 8.25kN

Beam K/ 1-4 (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.176m = 6.528kN

Brick wall

Wall 1/ J-K

=3.5m x 0.25m x 19kN/m3 x 2.75m= 45.71kN

Wall K/ 1-4

=3.5m x 0.25m x 19kN/m3 x 2.176m= 36.176kN

Total column load from 1st floor = 122.992kN

Ground floor

Area= 2.75m x 3.95m = 10.862m2

Slab

Live load = 1.5kN/m2 x 10.862m2 = 16.293kN

Dead load = slab self-weight x Area

=2.4kN/m2 x 10.862m2 = 26.068kN

Beams

Beam K/ 1-8 (self-weight)

=0.25m x 0.5m x24kN/m3 x 3.95m = 11.85kN

Beam 1/ J-K (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.75 m = 8.25kN

Brick wall

Wall K/1-8

=3.5m x 0.25m x 19kN/m3 x 3.95m= 65.66kN

Wall 1/J-K

=3.5m x 0.25m x 19kN/m3 x 2.75m= 45.71kN

Total load on column from ground level=174.43kN

Total load on column K-1

=174.43+122.992+36.393 = 333.816kN

COLUMN K-4

1st floor level

Areas

Balcony = 2.17m x 0.598m =1.297m2

Workout room = 2.75m x 2.17m = 5.967m2

Study rom = 2.75m x 1.897m = 5.216 m2

Slab

-Balcony

Dead load= self-weight x Area

=2.4kN/m2 x 1.297m2 =14.36kN

Live load = 1.5kN/m2 x 1.297m2 =1.935kN

-workout room

Dead load = self-weight x Area

=2.4kN/m2 x 5.967m2 =14.32kN

Live load = 2kN/m2 x 5.967m2 =11.934kN

-Study room

Dead load = self-weight x Area

=2.4kN/m2 x 1.897m2 =4.55kN

Live load= 1.5kN/m2 x 1.897m2 =2.845kN

Beams

Beam 4/ J-K (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.75m = 8.25kN

Beam K/ 4-8 (self-weight)

=0.25m x 0.5m x24kN/m3 x 1.897m = 5.691kN

Beam K/ 6-1 (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.176m = 6.528kN

Brick wall

Wall 4/J-K

=3.5m x 0.25m x 19kN/m3 x 2.75m= 45.71kN

Wall K/4-8

=3.5m x 0.25m x 19kN/m3 x 1.897m= 31.53kN

Total load on column = 36.176+31.53+45.71+6.528+5.691+8.25+2.845+4.55+11.934+14.32+1.935+14.36= 183.829kN

COLUMN K-8

Roof level

Area = 2.75m x 3.95 m =10.862m2

Live load from roof

=10.862m2 x 0.5kN/m2 = 5.431kN

Dead load from roof

=10.862m2 x 1kN/m2 = 10.862kN

Beam K/ 1-8 (self-weight)

==0.25m x 0.5m x24kN/m3 x 3.95= 11.85kN

Beam 8/ J-K (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.75 = 8.25kN

Total column load from roof level = 36.393kN

1st floor

Area= 2.75m x 1.897m = 5.216m2

Slab

Live load= 1.5kN/m2 x 5.216m2 = 7.824kN

Dead load= slab self-weight x Area

=2.4kN/m2 x 5.216m2 = 12.518kN

Beams

Beam 8/ J-K (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.75 = 8.25kN

Beam K/ 4-8 (self-weight)

=0.25m x 0.5m x24kN/m3 x 1.897 = 5.691kN

Brick wall

Wall 8/J-K

=3.5m x 0.25m x 19kN/m3 x 2.75m= 45.71kN

Wall K/4-8

=3.5m x 0.25m x 19kN/m3 x 1.897m= 31.53kN

Total load on column from 1st floor =111.53kN

Ground floor

Area = 2.75m x 3.95m =10.862m2

Slab

Live load = 1.5kN/m2 x 10.862m2 = 16.293kN

Dead load = slab self-weight x Area

=2.4kN/m2 x 10.862m2 = 26.068kN

Beams

Beam K/ 1-8 (self-weight)

=0.25m x 0.5m x24kN/m3 x 3.95m = 11.85kN

Beam 8/ J-K (self-weight)

=0.25m x 0.5m x24kN/m3 x 2.75 m = 8.25kN

Brick wall

Wall K/1-8

=3.5m x 0.25m x 19kN/m3 x 3.95m= 65.66kN

Wall 8/J-K

=3.5m x 0.25m x 19kN/m3 x 2.75m= 45.71kN

Load on column from ground floor = 173.84kN

Total load on column K-8 =

173.84+111.53+36.393 = 321.763kN